## Ark1
ID | question | ground_truth_human_generated | Exact_match_in_doc | page
1 | Which requirement in the Therapeutic Goods (Medical Devices) Regulations 2002 corresponds to Article 4 of ANVISA RDC 665/2022? |  | TGA: TG(MD)R Sch3 P1 1.4(4); TGA 1.4 Requirements of quality management system (4) Each requirement of the system must be documented in a systematic and orderly way in the form of written policies and procedures (for example, as quality programs, quality plans, quality manuals or quality records). | RDC4, MDSAP21, TGA174
2 | Which requirement in the Therapeutic Goods (Medical Devices) Regulations 2002 corresponds to Article 68 of ANVISA RDC 665/2022? |  | TGA: TG(MD)R Sch1 P2 7.2, 8; TGA 7.2 Minimisation of risks associated with contaminants and residues (1) A medical device must be designed, produced and packed in a way that ensures that any risks associated with contaminants and residues that may affect a person who is involved in transporting, storing or using the device, or a patient, are minimised, having regard to the intended purpose of the device. | RDC10, MDSAP129, TGA138
3 | What is the equivalent FDA CFR Title 21 requirement to Article 78 of ANVISA RDC 665/2022? |  | FDA: 21 CFR 820.70(g), 820.70(f)]; 820.70 Production and process controls. (f) Buildings. Buildings shall be of suitable design and contain sufficient space to perform necessary operations, prevent mixups, and assure orderly handling.(g) Equipment. Each manufacturer shall ensure that all equipment used in the manufacturing process meets specified requirements and is appropriately designed, constructed, placed, and installed to facilitate maintenance, adjustment, cleaning, and use. | RDC11, MDSAP128, FDA12
4 | What is the equivalent FDA CFR Title 21 requirement to Article 103 of ANVISA RDC 665/2022? |  | 820.75 Process validation. (a) Where the results of a process cannot be fully verified by subsequent inspection and test, the process shall be validated with a high degree of assurance and approved according to established procedures.The validation activities and results, including the date and signature of the individual(s) approving the validation and where appropriate the major equipment validated, shall be documented. | RDC13, MDSAP130, FDA13
5 | Which requirement in the Therapeutic Goods (Medical Devices) Regulations 2002 corresponds to Article 122 of ANVISA RDC 665/2022? |  | TGA: TG(MD)R Sch3 P1 1.4(5)(b)(iii); (iii) the methods of monitoring whether the system is operating effectively, in particular, whether the desired quality of design and product is being achieved and how products that fail to meet the desired quality are controlled; | RDC16, MDSAP68, TGA174