## Sheet1
Branch name | model_used_embeddings | Model name | QID | Question | Generated Answer | Top 1 retrieved | Top 2 retrieved | Top 3 retrieved | Top 4 retrieved | Top 5 retrieved | Top 6 retrieved | Top 7 retrieved | Top 8 retrieved | Top 9 retrieved | Top 10 retrieved | Elapsed seconds for experiment | date
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 1 | Which article of RDC 665/2022 establishes the obligation for companies to implement and maintain a structured framework for ensuring standards? | The article of RDC 665/2022 that establishes the obligation for companies to implement and maintain a structured framework for ensuring standards is Article 8. | Subsection II Organization and responsibilities Art. 8 Each manufacturer shall: I - establish and maintain an appropria te organizational structure, represented by an organizational chart, with personnel sufficient to ensure that products are manufactured in accordance with the requirements of this Resolution; 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | It is vitally important to highlight that all the clauses of the standard are equally required if applicable,2 to effectively establish and maintain a quality management system that will meet regulatory purposes. For the purpose of improved stratification in the grading system3, the clauses of the standard are divided into two categories: • Indirect QMS Impact : ISO 13485 :2003 clauses 4.1 through 6 | sh all establish, document, implement the quality management system pursuant to the provisions of Ch apter 3 to Chapter 5-2 inclusive (limited to the provisions that shall apply pursuant to the provisions of Article 3, hereinafter the same in this article) as well as the provisions of Chapter 2 and also maintain its effectiveness. (2) The Marketing Authorization Hold er etc | 2.2.2. Organization. Each manufacturer shall establish and maintain an approp riate organizational structure, represented by organization chart, with sufficient personnel to ensure that the products are manufactured in accordance with the requirements of this Technical Regulation. 2.2.3. Responsibility and Authority | Art. 9 The executive management of each manufacturer shall appoint an individual from the executive management itself who, regardless of other functionss, has the authority and responsibility to: I - ensure that quality system requirements are established and maintained in accordance with this Resolution; and II - report on the performance of the quality system to the executive management for review and provide information on improvem ent of the quality system. Sole paragraph | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 2 | Which article of RDC 665/2022 addresses non-compliances that do not directly affect the safety, efficacy, or quality of products? | The article of RDC 665/2022 that addresses non-compliances not directly affecting safety, efficacy, or quality is RDC 665/2022, Article [X], likely detailing the categorization of noncompliances into lower-level clauses when they don't directly impact safety, efficacy, or product quality. | 4 through 8.5, because it has direct QMS impact . • When the nonconformity is against the manufacturer’s quality manual, procedures or r e- quirements, is not specifically required in ISO 13485:2003 or does not impact safety or perfor mance , then the nonconformity should be assigned to clauses 4.1 through 6.3, b e- cause it has indirect QMS impact | 2.3, 6.4 through 8.5, (if applic able), when the nonconformity does, or has the potential to, affect safety or performance; because it has direct QMS impact. Guidelines on the use of Quality management system - Medical devices - Nonconformity Grading System for Regulatory Purposes and Information Exchange (GHTF/SG3/N19:2012) for MDSAP purposes Document No.: MDSAP AU P0037.001 Page 5 of 11 Uncontrolled when printed: For the most current copy, contact MDSAP@fda.hhs | 5.2(b). • When an audit observation or audit evidence indicates that a requirement of the manufacturer’s quality manual, procedures or requirements, or is not specifically required in ISO 13485:2016, or does not impact safety or performance, then the nonconformity should be assigned to clauses 4.1 through 6.3 (except 4.2.3, which is considered to have direct QMS impact), and 8.2.4; because it has indirect QMS impact. Nonconformities can often be written up against more than one clause | g ., 6 vs . 6.2 vs . 6.2.2). Nonconformity Grading System for Regulatory Purposes and Information Exchange Study Group 3 Final Document GHTF/SG3/N1 9:2012 November 2nd, 2012 Page 8 of 16 • When the nonconformity has the potential to affect safety or performance, it should be written against the specific r equirement in ISO 13485:2003 found in clauses 6.4 through 8.5, because it has direct QMS impact | In this example, ISO 13485:2016 clause 7.5 .6 does not require annual revalidation. There were no process changes or deviations and there does not appear to be a safety issue. This nonconformity should be assigned to clause 4.2 .5 - Documentation Guidelines on the use of Quality management system - Medical devices - Nonconformity Grading System for Regulatory Purposes and Information Exchange (GHTF/SG3/N19:2012) for MDSAP purposes Document No.: MDSAP AU P0037 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 3 | What does RDC 665/2022 establish regarding employee training requirements for carrying out assigned activities? | RDC 665/2022 requires manufacturers to train their employees so they can understand their job functions and any applicable regulations. | . 2.3.2. Training. Each manufacturer shall e nsure that all personnel are adequately trained to perform the tasks assigned to them. Training shall be conducted in accordance with procedures established by qualified persons to ensure that employees have a proper understanding on their regular function s and on the requirements of these Technical Regulations applicable to their functions | Art. 15. Each manufacturer shall ensure that all personnel are trained to properly perform the tasks assigned to them. § 1 The training mentio ned in the caput of this article shall be conducted in accordance with the procedures established by qualified persons to ensure that employees have an adequate understanding of their regular functions and of the requirements of this Resolution applicable to their functions | 3. Personnel 2.3.1. General instructions . Each manufacturer shall have sufficient personnel with instruction, expertise, training and practice compatible with the attributes of the function, in order to insure that all the activities provided for in this Technical Regulation are properly performed. It sh all be documented authority, responsibility and requirements necessary for the various functions of the company. . 2.3.2. Training | Training Where the activities performed personally by the management representative resul t in a determination of whether product meets requirements, including regulatory requirements, the management representative must be competent to perform such activities . In such cases, verify that training and experience includes the relevant regulatory requirements | Section III Personnel Art. 13. Each manufacturer shall have sufficient personnel with education, experience, training and practice compatible with the duties of the position, in order to ensure that all activities provided for in this Resolution are correctly performed. Art. 14. Descriptions defining authority, res ponsibility and necessary requirements of all personnel for the various tasks of the company shall be maintained. Art. 15 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 4 | What does RDC 665/2022 establish regarding documentation of consultant qualifications and professional records? | RDC 665/2022 establishes that consultants' qualifications must be formally assessed and documented, including maintaining professional records and training compliance, with a focus on tracking these assessments through established processes like the DHR. | Those consultants shall be contracted as a formal service supplier, according to purchasing controls defined by the manufacturer [RDC ANVISA 665/2022: Art . 16, Art. 17]. Assessing conformity Training A review of employee training records can be performed to ensure that employees have been trained regarding the medical device organization’s quality policy and objectives | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 11/17 Sole paragraph. Personnel shall be in structed to report to supervisors when they are in a health condition that could affect the product. Art. 72 | The pr ocedur es shall facilitate corr ectiv e action. Such identification shall be documented in the DHR. Subpart G—P roduc tion and P rocess C ontr ols § 820 .70 P roduc tion and pr ocess c ontr ols .(1)Evaluate and select potential suppliers, contr actors, and consultants on the basis of their ability t o meet specified r equir ements, including quality r equir ements. The e valuation shall be documented | 6º , RDC ANVISA 551/2021 – Art. 1º, Art. 5º]. Verify that the medical device organization keeps records regarding field actions performed, including those that do not need to be reported to regulatory authorities [ RDC ANVISA 551/20 21 – Art. 4º; Art. 6º, Art. 10, Art. 11, Art. 16] | 50(a) Evaluation of suppliers, contr actors, and consultants, but does apply t o procedur es established under these provisions | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 5 | What does RDC 665/2022 establish regarding the implementation of a product risk management program? | RDC 665/2022 establishes that each manufacturer must implement and maintain a robust risk management process covering the entire lifecycle of a medical product or in vitro diagnostic product. | Section IV 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 6/17 Risk management Art. 18 | The goal of a risk management program is to ensure the device is as safe as practical and the safety of the device is acceptable for the intended use. Effec tive risk management usually starts in conjunction with the design and development process, proceeds through product realization, including the selection of suppliers, and continues until the time the product is decommissioned. Risk management should be i nitiated at a point early in the design and development process | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 11/17 Sole paragraph. Personnel shall be in structed to report to supervisors when they are in a health condition that could affect the product. Art. 72 | 18. Each manufacturer shall establish and maintain an ongoing risk management process that involves the entire life cycle of a medical product or in vitro diagnostic product, from its conception to discontinuation, to: I - identify the associated hazards; II - estimate and evaluate the risks involved; III - control the associated risks; and IV - assess the effectiveness of the established controls. Art. 19 | Confirm that the medical device organization ’s risk management process involves the proactive evaluation, control, and monitoring of product risk, followed by the reactive response t o quality data that indicates new or changing product risk | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 6 | What does RDC 665/2022 establish regarding the periodic review of risk management activities as defined by the company's internal procedures? | RDC Resolution No. 665/2022 requires companies to conduct regular reviews of their risk management activities. (Note: I rewrote the answer to make it a statement, removing any references to "this requirement", "mobilize these reviews", etc.) | Art. 19. The ongoing risk management process shall include the following elements: I - analysis; II - assessment; III - control; and IV - risk monitoring. Art. 20. The company's executive management shall appoint the professionals responsible, establish the policy for determining the criteria for risk acceptability, as well as determine a periodic review of risk management activities, in order to ensure the adequacy and effectiveness of these activities | Section IV 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 6/17 Risk management Art. 18 | Links Task 7 – Risk Management Planning and Review Verify that management has committed to and has responsibility for overall risk management planning, including ongoing review of the effectivenes s of risk management activities ensuring that policies, procedures and practices are established and documented for analyzing, evaluating and controlling product risk throughout product realization. Clause and Regulation ISO: ISO 13485:2016: 4.1.2 (b), 7 | 2.4.2. The executive management shall designate responsible personnel, establish the policy to determine the risk acceptability criteria, and determine a periodic review of risk management activities to ensure its adequacy and effectiveness. 2.5. Purchasing Controls 2.5.1 | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 11/17 Sole paragraph. Personnel shall be in structed to report to supervisors when they are in a health condition that could affect the product. Art. 72 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 7 | Which article of RDC 665/2022 requires companies to define procedures for employees to report health conditions and criteria for their removal from activities? | The RDC 665/2022 resolution requires companies to establish procedures for employees to report health conditions and be removed from activities as outlined in Articles 70 and 71. | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 11/17 Sole paragraph. Personnel shall be in structed to report to supervisors when they are in a health condition that could affect the product. Art. 72 | Art. 70. Each manufacturer shall ensure that the personnel who are in contact with the product or its environment are clean, healthy, and appropriately dressed for the activity to be performed. Art. 71. Any person who, by medical examination or by observation of supervisors, appears to be in a health condition that could affect the product, shall be removed from operations until the health condition is deemed adequate. 04/01/2022 06:05 PM RDC RESOLUTION No | 5.1.3 .2. Personal health and hygiene. Each manufacturer shall ensure that the employees and or others who are in contact with the product or with the environment are clean, healthy, and appropriately dressed for the activity to be performed. Any person who, by medical examination or observation of supervisors, seems to be in a health condition that may affect the product, shall be removed from the operations | 4 Article 61 Clause 8.5.1 Article 62 Article 62.6 specifies the requirements of establishment of procedures to notify adverse events for the Marketing Authorization Holder and the person operating the registered manufacturing site. The Marketing Authorization Holder shall establish documented procedures to report adverse events which meet reporting criteria specified by the Article 228 -20.2 of Regulation for Enforcement of PMD Act to the Minister of Health, Labour and Welfare | Section II Complaints Management Art. 121. Each manufacturer shall establish and maintain procedures for receiving, examining, assessing, investigating and filing complaints, ensuring that: I - complaints are received, documented, examined, assessed, investigated, and filed by a formally appointed unit; II - complaints are notified to the competent health authority, when applicable; 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 8 | What does RDC 665/2022 say about translating product design into production procedures or specifications? | Here are two revised answers: 1. RDC 665/2022 specifies that each manufacturer must ensure accurate translation of product design into production specifications and procedures. 2. RDC 665/2022 states that manufacturers must establish procedures for translating product design into production specifications, facilitating compliance with regulatory standards and quality objectives. 3. RDC 665/2022 requires the establishment and maintenance of procedures to accurately translate product design into production specifications. | 1. Design Control 4.1.1. General Instructions. Each manufactur er shall establish and maintain procedures to control product design to ensure that the specified requirements for the design are met. 4.1.2. Design planning and development. Each manufacturer shall establish and maintain plans that describe or make refere nce to design and development activities and the responsible for each activity | Art. 49. Each manufacturer shall define and document the design output data as to allow the assessment of the design's conformity with the requirements established as input data. 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | Art. 51. The results of the design review shall be documented in the design history file. Art. 52. Each manufacturer shall establish and maintain procedures to ensure that the product design is correctly translated into production specifications. Art. 53. Each manufacturer shall establish and maintain a procedure to validate the product design. Art. 54. Design validation shall be performed under predetermined operating conditions, in the initial batch or unit production. Art | Links Design and Development The design outputs for a device include documents such as diagrams, drawings, specifications, procedures, and the production processes that are essential to the proper manufacturing of the device. Production processes can include not only the manufacturing instructions, but also internal controls, such as the type and extent of acceptance activities, equipment calibration and maintenance intervals, environmental controls, and personnel controls | Links None Task 16 – Design transfer Determine if the design was correctly transferred to production. Clause and Regulation ISO: ISO 13485:2016: 4.2.1, 4.2.3, 7.3.8 ANVISA: RDC ANVISA 665/2022 : Art. 5 2, Art. 54, Art. 55, Art. 56, Art. 57, Art. 58, Art. 61 MHLW/PMDA: MO169: 6, 7-2, 35 -2; [Old: 6, 30 ] FDA: 21 CFR 830.30(h)] Additional country -specific requirements Chapter 5 - Design and Development Task 16 – Design transfer MDSAP AU P0002 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 9 | Which article of RDC 665/2022 requires companies to monitor and control process parameters? | The article of RDC 665/2022 that requires companies to monitor and control process parameters is Art. 66. | Clause and Regulation ISO: ISO 13485:2016: 7.1, 7.5.1, 8.1, 8.2.5 TGA: TG(MD)R Sch1 P1 2, Sch3 P1 1.4(5)(b)&(e) ANVISA: RDC ANVISA 665/2022 : Art. 18, Art. 19, Art. 20, Art. 64, Art. 83, Art. 128, Art. 131 Chapter 6 - Production and Service Controls Task 11 – Control, operation, and monitoring of the production and service process; risk controls MDSAP AU P0002.007 136 ¦ Page MHLW/PMDA: MO169: 26, 40, 54, 57 FDA: 21 CFR 820.70(a), 820.75(b), 820 | CHAPTER V PROCESS AND PRODUCTION CONTROLS Section I General Requirements Art. 64. Each manufacturer shall design, conduct, control, and monitor all production processes in order to ensure that the product is in conformity with its specifications. Art. 65. Each manufacturer shall establish and maintain process control procedures that describe the process controls necessary to ensure conformity with product specifications. Sole paragraph | Chapter 6 - Production and Service Controls Task 11 – Control, operation, and monitoring of the production and service process; risk controls MDSAP AU P0002.007 135 ¦ Page Clause and Regulation ISO: ISO 13485:2016: 7.1, 7.5.1, 8.1 , 8.2.6 TGA: TG(MD)R Sch1 P1 2, Sch3 P1 1.4(5)(b)&(e) ANVISA: RDC ANVISA 665/2022 : Art. 18, Art. 19, Art. 20 , Art. 64, Art. 131 MHLW/PMDA: MO169: 26, 40, 54, 58, 59 FDA: 21 CFR 820 .70(a), 820 | Sole paragraph. Process controls shall be established at any stage where deviation from product specifications may occur as a result of the manufacturing process. Art. 66 | Art. 66. Process controls shall include: I - documented instructions, standard operating procedures, and methods that define and control the manner of production, installation, and maintenance; II - monitoring and control of process parameters; III - conformity with technical rules, standards, or reference codes; and IV - instructions for process sta rt release. Art. 67 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 10 | Which article of RDC 665/2022 addresses ventilation system requirements to prevent cross-contamination in the production of sterile or contamination-sensitive products? | The relevant article addressing ventilation system requirements in RDC 665/2022 is Article 70. | , or sterilized containers are exposed to the air in the work areas, areas where closure of container s is performed, and areas where aseptic operations, such as sterility testing, are performed; hereinafter the same in th is chapter.) shall conform to the following requirements. (1) The surfaces of ceilings, walls, and floors are smooth and free from cracks and do not cause dust. (2) Drainage facilitie s have an appropriate structure to preven t contamination by harmful drainage. E | Art. 68. Each manufacturer shall provide suitable environmental conditions for production operations in order to prevent contamination or other adverse effects on the product. Sole paragraph. For the purposes of the provisions in the caput of this article, the correct functioning of the established environmental control systems shall be monitored, and the corresponding records shall be maintained. Art. 69 | Art. 69. Each manufacturer shall est ablish and maintain adequate cleaning and sanitization procedures and a schedule that meets the requirements of the manufacturing process specifications. Sole paragraph. Each manufacturer shall ensure that the personnel involved understand the cleaning and sanitization procedures. Art. 70 | Storage facilities shall be equipped with a thermostat, self -recording thermometer, and other necessary instruments. P. An air-handling system shall conform to the following requir ements. (1) The structure should be approp riate to prevent contaminatio n of products, etc. by microorganisms, etc. (2) When pathogenic microorganisms, etc. are handled, the struc ture should be appropriate to prevent air diffusion o f the microorganisms, etc | 5.1.3. Environmental Control. Each manufacturer shall provide appropriate environmental conditions to production operations in order to prevent contamination or other adverse effects on the product. The correct functioning of established environmental control systems shall be monitored, keeping the corresponding records. 5.1.3.1. Clean and sanitization | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 11 | How does RDC 665/2022 regulate the handling and environmental disposal of waste and chemical effluents? | RDC Resolution No. 665/2022 regulates the handling and environmental disposal of waste and chemical effluents through specific provisions: 1. **Pest Control (Art. 74)** 2. **Waste and Chemical Disposal (Art. 75)** 3. **Biological Safety Standards (Art. 76)** 4. **Procedures for Disposal (Art. 117-118)** These provisions ensure that waste and chemical effluents are managed appropriately, following legal standards and maintaining biological safety where necessary, with clear procedural guidelines for accountability. | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 15/17 § 1 The disposal of the products mentioned in the caput of this article shall be documented, and a r ecord of the justification and manual or electronic signature of the person responsible for the disposal shall be maintained | 5.1.3.5. Removal of garbage and chemical waste. The treatment and destination of garbage, chemical wastes and by-products shall occur in accordance with the applicable legislation in force. 5.1.3.6. Biological safety standards shall be observed in the cases where there is biological risk. 5.1.4. Worker health | Art. 117. Responsi bility for review and authority to dispose of non -conforming components, manufacturing materials, intermediate products, finished products, and returned products shall be defined. Art. 118. The process of reviewing and disposing of non -conforming component s, manufacturing materials, intermediate products, finished products, and returned products shall be described in an established procedure. 04/01/2022 06:05 PM RDC RESOLUTION No | Art. 74. A pest control program shall be established, and it shall be ensured that whenever chemical agents are used, these agents do not affect the quality of the product. Art. 75. The treatment and disposal of waste, ch emical effluents, and byproducts shall occur according to the applicable legislation in force. Art. 76. Biological safety standards shall be observed in cases where a biological hazard is present. Art. 77 | Information on planning and impl ementation of disposal, reca ll, discontinuation of marketing, revision of precautions, etc. ( matters listed in eac h item of Paragraph 2, Article 63-2 of the Act or information on precautions, etc | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 12 | How does RDC 665/2022 regulate the validation and performance qualification of sterilization equipment? | RDC 665/2022 under ANVISA requires that sterilization equipment used for sterile medical devices undergoes thorough validation and performance qualification. | Verify that the monitoring and measuring equipment used in production and service control has been identified, adjusted, calibrated and maintained, and capable of producing valid results. Clause and Regulation ISO: ISO 13485:2016: 7.5.1, 7.6 TGA: TG(MD)R Sch3 P1 1.4(5)(e) ANVISA: RDC ANVISA 665/2022 : Art. 93, Art. 94 , Art. 95 MHLW/PMDA: MO169: 40, 53 FDA: 21 CFR 820 .70(g), 820 | 007 189 ¦ Page The following table summarizes the competencies required to devices: audit the requirements for sterile medical Topic being evaluated Microbiology Packaging and Sterile Barrier Systems Environmental and contamination control Routine Sterilization Sterilization process (re -) validation according to well- established standards (excluding aseptic processes)   Sterilization process (re -) validation according to less common standards, or using less common sterilant, sterilization technologies, validation methods (including aseptic processes)  Packaging process validation and sterile barrier systems   Environmental and microbial contamination controls   Routine implementation of sterilization processes to previously audited validated processes according   Routine implementation of environmental monitoring (including maintenance) controls and    Routine implementation of packaging previously validated processes activities according to    Annex 2 - Audit of Requirements for Sterile Medic al Devices MDSAP AU P0002 | Annex 2 - Audit of Requirements for Sterile Medical Devices Annex 2 - Audit of Requirements for Sterile Medical Devices Overview: The control of the sterility of a medical device is the result of a series of controlled processes including (but not limited to): Design and Development: a) device cleanliness and sterility requirements b) compatibility of the device with the sterilization process c) transport, storage, and presentation of the device at point of use d) compatibility of the device packaging with the sterilization process e) ability of the device to be sterilized or re -sterilized f) shelf -life and device life user requirements g) rationale for adding the device to a product family covered by a validated sterilization process Production and Process Controls, as applicable: a) process validation of the cleaning, sterile barrier packagi ng, and sterilization processes b) routine monitoring and measurement of the cleaning, packaging and sterilization processes c) routine acceptance criteria of the cleaning, packag ing and sterilization processes d) (re-)qualification, (re -)verification, (re -)calibration and maintenance of the cleaning, packag ing and sterilization equipment e) environmental control of production areas (cleanroom design and monitoring) f) storage of device parts, com ponents, and packaging material g) storage of finished sterile product a nd management of shelf life h) handling process of non- sterile device for re- sterilization i) lot / batch release o f terminally sterilized devices Purchasing, depending on the purchased product or service: a) Determination of criteria the supplier must meet to be s elected, with regards to the control of the sterility of the device b) Selection and monitoring of suppliers considering the identified criteria c) Purchasing information d) Verification of the purchased product/service (and associated documentation) Therefore, the audit of the control of the sterility of a medical device requires a holistic approach | 007 190 ¦ Page Audit of the Requirements for Sterility and Audit Cycle Considerations: All ISO 13485 and regulatory requirements for sterile medical devices must be audited at least once during the certification cycle. While Auditing Organizations have flexibility in deciding when these requirements are audited during the certification cycle, they should ensure that the requirements for sterility of a device have been audited before including this device in the scope of certification | [TG(MD)R Sch1 P1 2(1)]. Assessing conformity Validation of sterilization processes Sterilization processes include terminal sterilization methods (such as radiation and ethylene oxide) as well as aseptic processing methods. Sterilization processes must be validated, with periodic revalidation as required by established standards or requirements established by the medical device organization | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 13 | Which article of RDC 665/2022 regulates the validation of computerized systems used in packaging, labeling, and in-process control? | The article regulating the validation of computerized systems used in packaging, labeling, and in-process control is Art. 104 of RDC Resolution No. 665/2022. | Art. 105. Each manufacturer shall establish procedures to periodically verify its validated processes, analytical methods, ancillary process support or environmental control systems, automated computerized systems, and software and, where applicable, estab lish the frequency for revalidation. Art. 106 | Section V Validation Art. 103. Special processes shall be validated according to previously established protocols and the results of the validations, including the date and identification of the person responsible for their approval, shall be recorded. Art. 104. Analytical methods, ancillary process support or environmental control systems, automated computerized systems, and software that may adversely affect product quality or the quality system shall be validated. Art. 105 | Sole paragraph. Critical parameters of special processes shall be monitored and recorded in the product history file. Section II Controls on packaging, labeling and instructions for use Art. 84. Each manufacturer shall establish procedures for the packaging of products in order to protect the product from any alteration, damage, or contamination during the processing, storage, handling, and distribution stages. Art. 85 | 5.5.2. Analytical methods, auxiliary systems supporting the process es or environmental control, automated computerized systems, and software that may adversely affect the quality of the product or the quality system shall be validated. 5.5.3 | Art. 85. Each manufacturer shall establish and maintain procedures to ensure the integrity and preven t accidental mixing of labels, instructions for use, packaging materials, or identification tags. Art. 86. Each manufacturer shall ensure that labels are designed, printed and, where applicable, applied so that they remain legible and adhered to the produc t during processing, storage, handling, and use. 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 14 | What are the requirements in RDC 665/2022 regarding label approval records and their inclusion in the product's historical documentation? | The requirements in RDC 665/2022 regarding label approval records state that these must be documented in the product history file. Specifically, each approved label must include details such as: - Date of approval - Responsible person's name - Signature (either manual or electronic) | § 1 Approval of labels and instructions for use shall be documented in the product history file, including date, name, and manual or electronic signature of the person responsible. § 2 In the case of importers, the documentation of the approval referred to in § 1 of this article can be registered in a document of its own instead of the product history file. Section III Inspection and Testing Art. 88 | 40]. Verify that labeling has not been released for storage or use until a designated individual has examined the labeling for accuracy. The approval, including the date, name, and physical or electronic signature of the person responsible, must be documented in the device history record [RDC ANVISA 665/2022 : Art. 87] | The record for each batch of devices must include, or refer to the location of, the following information: - The dates of manufacture - The quantity manufactured - The quantity released for distribution - The acceptance records which d emonstrate the device has been manufactured in accordance with the planned arrangements and defined product specifications - The primary identification label and labeling used for each production unit - Any device identification(s) and control number(s) used , including unique device identifiers when applicable - A provision to indicate that the record has been verified and approved | Sole paragraph. The design history file shall contain or reference all records necessary to demonstrate that the project was developed in accordance with the approved design plan and the requirements of this Resolution. Section II Product Master Record (PMR) Art. 62. Each manufacturer shall maintain product master records (PMRs). Art. 63. The PMR for each product type shall include or reference the following information: 04/01/2022 06:05 PM RDC RESOLUTION No | (a)The dates of manufactur e; (b)The quantity manufactur ed; (c)The quantity r eleased for distribution; (d)The acceptance r ecor ds which demonstr ate the de vice is manufactur ed in accor dance with the DMR; (e)The primar y identification label and labeling used for each pr oduction unit; and (f)Any unique de vice identifier (UDI) or univ ersal pr oduct code (UPC ), and any other de vice identification(s) and contr ol number(s) used. (a)Each manufactur er shall maintain complaint files | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 15 | What are the requirements in RDC 665/2022 for calibration accuracy and frequency for critical production and testing instruments? | Here's a rewritten version of the context as a statement: RDC 665/2022 requires calibration accuracy and frequency based on guidelines set by each manufacturer, with specific prescriptions for corrective actions when accuracy limits are not met. Calibration should be performed at least initially based on equipment manufacturer recommendations or criticality levels in production. | Verify that the monitoring and measuring equipment used in production and service control has been identified, adjusted, calibrated and maintained, and capable of producing valid results. Clause and Regulation ISO: ISO 13485:2016: 7.5.1, 7.6 TGA: TG(MD)R Sch3 P1 1.4(5)(e) ANVISA: RDC ANVISA 665/2022 : Art. 93, Art. 94 , Art. 95 MHLW/PMDA: MO169: 40, 53 FDA: 21 CFR 820 .70(g), 820 | Confirm that the production and test equipm ent selected for review is suitable for its intended purpose and capable of giving valid results. Review the maintenance, control, and calibration procedures (and records) for the equipment selected for review. The initial frequency with which measuring a nd test equipment is calibrated and maintained is usually based on the equipment manufacturer’s recommendations | Art. 95. Each manufacturer shall establish and maintain calibration procedures that include specific guid elines and limits for accuracy and precision, as well as prescriptions for corrective action when the limits for accuracy and precision are not met. Art. 96. Calibration shall be performed by personnel with the necessary education, training, practice, and experience. Art. 97. Test and measurement equipment shall be identified as to provide for determining the calibration status | 93. Each manufacturer shall ensure that all test and measurement equipment, including mechanical, automated, or electronic equipment, is suitable for its intended purpose and capable of producing valid results. Art. 94. Each manu facturer shall establish and maintain procedures to ensure that the test and measurement equipment is routinely calibrated, inspected, and controlled. Art. 95 | 70(g), 820.72] Additional country -specific requirements None Assessing conformity Maintenance and calibration While reviewing the selected production process, make note of significant pieces of process equipment and significant pieces of measuring or test equipment. Consider selecting process and test equipment that, if not properly controlled, could cause devices to not meet specified requirements; or produce inaccurate results that could lead to unrecognized nonconformities | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 16 | What does RDC 665/2022 establish regarding the documentation of technical support guidelines? | RDC Resolution No. 665/2022 mandates that manufacturers maintain detailed documentation of technical assistance records, including the product's purpose and control numbers. | Art. 129. Each manufacturer shall establish and maintain procedures to ensure that technical assistance records are maintained and that they contain: I - the product purpose of the service; II - the control number used; 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 11/17 Sole paragraph. Personnel shall be in structed to report to supervisors when they are in a health condition that could affect the product. Art. 72 | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 15/17 § 1 The disposal of the products mentioned in the caput of this article shall be documented, and a r ecord of the justification and manual or electronic signature of the person responsible for the disposal shall be maintained | Section IV 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 6/17 Risk management Art. 18 | Art. 49. Each manufacturer shall define and document the design output data as to allow the assessment of the design's conformity with the requirements established as input data. 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 17 | What does RDC 665/2022 establish regarding the independence and impartiality of internal audit processes? | RDC 665/2022 states that internal audits must be conducted independently by trained individuals without direct responsibility for the matters being audited. Note: I removed the additional sentence as it was not part of the original context provided, but rather an opinionated conclusion drawn from the information given. | Confirm that the internal audits include provisions for auditor training and independence over the areas being audited, corrections, corrective actions, follow -up activities, and the verification of corrective actions. Clause and Regulat ion ISO: ISO 13485:2016: 6.2, 8.2.4 TGA: TG(MD)R Sch3 P1 1.4(5)(b)(iii) ANVISA: RDC ANVISA 665/2022 : Art. 122, Art. 123 , Art. 124 MHLW/PMDA: MO169: 22, 23, 56 FDA: 21 CFR 820 .22, 820 | Internal audits should also determine whether these procedures are implemented effectively and whether they are suitable to achieve quality management system objectives. Auditor s Internal audits are to be conducted according to established procedures by appropriately trained individuals not having direct responsibility for the matters being audited | 007 69 ¦ Page Assessing conformity Internal audits Internal audits are systematic, independent examinations of a medical device organization ’s quality management system that are performed at defined intervals and at sufficient frequency to determine whether both quality management system activities and the results of such activities comply with quality management system procedures | Some relevant policies and procedures introduced by the program to ensure consistency across Auditing Organizations and/or auditor teams include: • The sequence of processes specified in the Audit Approach MDSAP AU P0002 must be followed; the aud it duration is based on planned audit tasks MDSAP AU P0008 Audit Time Determination - Procedure, ensuring consistency across Auditing Organizations | The auditor competency (including ability to identify existing nonconformities) is something the regulatory authorities review extensively during Auditing Version 018 2022-08-22 Organization assessment activities. An independent inspection by the FDA would be necessary to support judicial actions. 60 | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 18 | Which article of RDC 665/2022 requires holding time studies for intermediate products stored before final packaging or bottling | The provided context from RDC 665/2022 does not specifically require holding time studies for intermediate products stored before final packaging or bottling. | Art. 1 11. Components, manufacturing materials, intermediate products, finished products, and quality control samples shall be stored under physical and environmental conditions that prevent damage, deterioration, or other adverse effects during the period in whi ch they remain in storage. Art. 112 | Art. 91. Each manufacturer shall establish and maintain procedures for retaining components, manufacturing materials, intermediate products, and returned products until inspections, tests, or other established verifications have been performed and documented. Art. 92 | § 820 .160 D istr ibution .(b)Labeling inspection. Labeling shall not be r eleased for st orage or use until a designated individual(s) has examined the labeling for accur acy including, wher e applicable, the corr ect unique de vice identifier (UDI) or univ ersal pr oduct code (UPC ), expir ation date, contr ol number , storage instructions, handling instructions, and any additional pr ocessing instructions | 110. Each manufacturer shall establish and maintain procedures for identifying components, manufacturing materials, intermediate products, finished products, and quality control samples, in order to prevent reversals (exchanges) during storage. Art. 1 11 | 119. § 3 Storages of medical products and in vitro diagnostic products shall comply, at least, with the following requirements of this Resolution: I - Chapters I and VII, in their entirety; 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | [5 empty] | 402.4373 | 02.04.2025
mdsap | hkunlp/instructor-xl | deepseek-r1:8b | 19 | What does RDC 665/2022 establish regarding the use of FEFO (First Expires, First Out) for product storage and distribution based on expiration dates? | RDC 665/2022 establishes that medical products should be stored and distributed using the FEFO (First Expires, First Out) method, which prioritizes the use of products closest to their expiration dates first, ensuring that expired or deteriorated products are not distributed or used. | 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 14/17 I - are not used or distributed, when the quality or the condition of suitability for use deteriorates over time; II - closest to their expiry date are distributed or used first; and III - are not distributed or used when expired. Section II Storage and Distribution Art. 110 | Wher e a de vice's fitness for use or quality deterior ates o ver time, the pr ocedur es shall ensur e that expir ed de vices or de vices deterior ated be yond acceptable fitness for use ar e not distributed. (b)Each manufactur er shall maintain distribution r ecor ds which include or r efer to the location of: (1)The name and addr ess of the initial consignee;21 CF R P art 820 (up t o d ate as of 3/28/2025) Qualit y System R egul ation21 CF R 820 .120(b) 21 CF R 820 | 6.1.4. The procedures shall ensure that components, manufacturing materials, intermediate products or finished products nearest the expiry date are distributed o r used firstly, and those out of the expiry date are not distributed or used. ISSN 1677 -7042 Federal Official Gazette - Section 1 No. 61, Monday, April 1, 2013 This document can be found at the website http://www.in.gov.br/autenticidade.html , under the code 00012013040100075 Digitally signed document as per MP No | 119. § 3 Storages of medical products and in vitro diagnostic products shall comply, at least, with the following requirements of this Resolution: I - Chapters I and VII, in their entirety; 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov | 04/01/2022 06:05 PM RDC RESOLUTION No. 665, OF MARCH 30, 2022 - RDC RESOLUTION No. 665, OF MARCH 30, 2022 - DOU - National Press https://www .in.gov .br/en/web/dou/ -/resolucao -rdc-n-665-de-30-de-marco -de-2022 -389909119 15/17 § 1 The disposal of the products mentioned in the caput of this article shall be documented, and a r ecord of the justification and manual or electronic signature of the person responsible for the disposal shall be maintained | [5 empty] | 402.4373 | 02.04.2025